|  |  | DOC. NO.: |
| --- | --- | --- |
|  | FIRE PERMIT |  |
| For drillings, grinding, chiseling in explosion endangered area. For welding, cutting and other ‘fire’ jobs |
| Originating Department | Supervisor | Sign |
| Sub/Contractor | Supervisor | Sign |
| A. The Place Location |
| Will be released for ‘fire jobs’ on from hrs to hrs |
| 1. Job description |
| B. Places of danger in surrounding areas. |
| Location | Safety measure | Date/Sign/Name of responsible person |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| C. Safety measures before commencement of ‘fire job’ |
|  | Yes | No | NA |  | 9. No entry for tankers etc. | Yes | No | NA |
| 1. Hold safety discussion on site | ( | ( | ( |  | 10. Keep water/sand buckets ready | ( | ( | ( |
| 2. Test pipes, equipment etc. for leak | ( | ( | ( |  | 11. Connect and keep water hoses ready. | ( | ( | ( |
| 3. Cover pipes, equipment etc. | ( | ( | ( |  | 12. Suitable fire extinguisher ready (type) | ( | ( | ( |
| 4. Place screen (Tarpaulin etc) | ( | ( | ( |  | 13. Type of fire extinguisher | ( | ( | ( |
| 5. Remove combustible material from site (solid/liquid/gas/dust etc.) | ( | ( | ( |  | 14. Precautions in case of vessel entry | ( | ( | ( |
| 6. Seal off pipe/drain lines etc. | ( | ( | ( |  | 15. Others |  |  |  |
| 7. Minimum distance from boiler walls, tank farm etc. | ( | ( | ( |  |  |  |  |  |
| 8. Mark work place with sign boards at appropriate places. | ( | ( | ( |  |  |  |  |  |
| Safety Measures during ‘Fire Job’ |
| 17. Analysis for gases/vapors done result | ( | ( | ( |  |  |  |  |  |
| 18. Keep work place moist (sprinkle water) | ( | ( | ( |  |  |  |  |  |
| 19. Stop ‘fire job’ when alarm sounded | ( | ( | ( |  |  |  |  |  |
| 20. In case of unforeseen event stop ‘fire job’ report to Manager | ( | ( | ( |  |  |  |  |  |
| Report daily at beginning and end of fire job to responsible |
| D. Authorization by department |
| Care correct and complete | Safety measure checked-OK | Approved by HSE |
| 1. | 2. | 3. |
| Date/Sign/Name (Head of Dept.) | Date/Sign/Name (Supervisor) | Date/Sign/Name |
| 4. Work place checked daily after end of fire job |
| Date/Sign | Date/Sign | Date/Sign | Date/Sign |
| 5. For extension of permit, all must sign. |
| Permit extended from hrs. to date |