|  | ELECTRICAL WORK PERMIT-TO-WORK |  | Permit No: Additional Permit Reference: |
| --- | --- | --- | --- |
| This permit-to-work (PTW) is to be retained by the employee/ contractor while work is in progress and must be displayed within the working area. A copy of this PTW must be retained by the Authorised Person. After completion/cancellation of the work this PTW must be returned to the Authorised Person for the hand-back procedure. |  |  |  |
| Date: |  | Start (Time): | Finish (Time): |
| Exact location of work: |  |  | No. of persons working on site: |
| Description of work and its limitations: |  |  |  |
| Name of Department/ Contractor Company conducting the work: ………………………………... Manager/ Supervisor in charge: ………………………………………………………………………. Name of Subcontractor(s): ……………………………………………………………………………. |  |  |  |
| Type of electrical work being undertaken (please specify): |  |  |  |
| Hazards associated with the work: (Residual hazards and hazards introduced by the work) |  |  |  |
| Points at which the equipment is isolated: |  |  |  |
| Safety locks have been fitted at the following points: |  |  |  |
| Potential tests have been carried out at: |  |  |  |
| The equipment is efficiently connected to the earth at the following points (if applicable): |  |  |  |
| Signage/ notices have been posted at: |  |  |  |
| Other procedures: |  |  |  |
| Electrical isolation: I ………………………… the Authorised Person hereby declare that the equipment has been made dead, isolated from all live connections and earthed (if applicable). All personnel involved have been informed. Safety locks are held by personnel conducting the work. Signature …………………………….. Date……..……. Time ………….. |  |  |  |
| Precautions required for the work (please list): --------------------------------------------------------------------------------------------------------------------------------- Equipment required (please list): --------------------------------------------------------------------------------------------------------------------------------- Protective Equipment required (please list): |  |  |  |
| Authorisation - I ………………………… the Authorised Person declare that the above work has been discussed with the person(s) in charge of the work, the risk assessment(s)/method statement (if applicable) have been reviewed and all safety precautions/ actions required are in place and have been inspected by myself in accordance with the requirements of Walsall MBC’s PTW Safety Management Standard. - I declare that it is safe to work on the equipment which is dead, isolated from all live conductors and is connected to earth (if applicable). Signature …………………………….. Date……..……. Time ………….. |  |  |  |
| Acceptance of PTW - I have read and understood the above hazards involved and necessary precautions to be taken for this work. I will ensure that all workers involved understand the requirements of this PTW and adhere to them. - I hereby declare that I accept responsibility for carrying out the work on the equipment detailed above and that no attempt will be made by myself, or personnel under my control, to carry out work on any other equipment. Work to be performed by: Print name: ……………………… Signature: …………………………. |  |  |  |
| Completion/ Hand-back of PTW Contractor/employee (person in charge of the work): - I certify that the work specified on this PTW has been completed. All persons under my supervision, materials and equipment have been withdrawn, and the site has been left clean and tidy. - All persons under my supervision have been warned that it is no longer safe to work on the equipment specified on this PTW, and that all tools and earthing connections (if applicable) have been removed and are all clear. Print name: ……………………… Signature: …………………………. Date………Time …….. ---------------------------------- Authorised Person: - The work covered by this PTW is complete and the earth connections (if applicable) applied at the points indicated above have been removed and the area has been left safe, clean and tidy. - The plant is now ready for testing and re-commissioning. Print name: ……………………… Signature: …………………………. Date………Time …….. |  |  |  |
| Extension of the PTW (same day only) - The work has not been completed and permission to continue has been requested. - I …………………………. the Authorised Person have re-examined the work and work area detailed above and confirm that this PTW may be extended to expire at: Date: …………... Time: ………….. Signed (Authorised Person): …………………………….. |  |  |  |
| Cancellation of PTW I the Authorised Person declare that the work is complete and has been tested. The area is safe for normal working to resume. I the Authorised Person declare that the work has not been completed. The plant has been tested, and the area is safe for normal working to resume. The work has not been completed and a new PTW will be required. This PTW (and any other PTW in relation to this work) are hereby cancelled. Signature: ………………………………. (Authorised Person) Date………….. Time ……….. |  |  |  |