| ENERGIZED ELECTRICAL TEST & MEASUREMENT AUTHORIZATION |
| --- |
|  | Extended Duration | One-time Use Only |
| Building: | Room/Area: | Authorization # |
| Job Supervisor: | Date Start: | Expiration Date: |
| Description of work to be done: |
| Description of Circuit/Equipment: |
| Justification for why equipment cannot be de-energized: |
| Results of Shock Hazard Analysis (NFPA-70E 2004 130.2) |
| Maximum Voltage: | Glove Voltage Rating: | (Inspect gloves before use, check certification date) |
| Limited Approach Boundary: (ft.) | Restricted Approach Boundary: (ft.) | Prohibited Approach Boundary: (ft.) |
| Results of Arc Flash Hazard Analysis (NFPA-70E 2004 130.3) |
| Risk Category: | Flash Protection Boundary: (ft.) |
| All Natural Fiber Outerwear |
| Fire Retardant Clothing | Cal/cm2 | ATPV Rating: |  |
| Required Additional PPE: |
| Safety Checklist (Verify that proper controls are in place): |
| Workers must be trained (ESH 114, 375), qualified, and have full knowledge of equipment. |
| Safety watch is required. This person must be trained (CPR, ESH 114, 371), qualified, be able to cut off all power sources, and have immediate access to a telephone or radio to call 911 in case of emergency. |
| Insulated tools and equipment required. |
| Remove all jewelry and metal apparel. |
| Use barricades and warning signs. |
| Documented job briefing including discussion of any job-specific hazards (e.g., NFPA-70E 2004 Annex I). |
| See attachment for added information, special requirements, procedures, or written work plans. |
| APPROVALS |
| Hazard analysis performed by: | Date: |
| Job Supervisor: | Date: |
| PHY ESH Engineer: | Date: |
| PHY Electrical Safety Committee Representative: | Date: |
| Division Director (extended duration authorization only): | Date: |
| AUTHORIZED WORKERS that understand and agree to the above: |
| Printed or typed name(s): | Signature(s) | Date(s) |