# This checklist applies to general industry workplaces

Are only qualified persons allowed to work on electrical equipment and are they familiar with Oregon OSHA electrical safety rules?

Are lockout/tagout procedures required when electrical equipment is being serviced?

Are portable hand-held electrical tools and equipment grounded or double-insulated?

Are electrical appliances – such as refrigerators, coffee pots, vacuum cleaners, polishers, and vending machines – grounded?

Do extension cords have a ground prong?

Are ground-fault circuit interrupters, which are not a part of the permanent wiring of the building, installed on 125-volt, single phase, 15-, 20-, and 30 ampere receptacles?

If not, do you have an assured equipment-grounding program?

Do you repair or replace damaged wiring or frayed cords promptly?

Do flexible cords or cables have strain relief at plug ends and is the cord jacket securely held in place?

If you work in damp or wet areas, are your electrical tools and equipment approved for that kind of work?

Are metal ladders prohibited from use in areas where there could be exposure to energized parts of equipment, fixtures, or circuit conductors?

Are all disconnecting switches labeled to indicate their use or the equipment they serve?

Are energized parts of electrical equipment operating at 50 volts or more enclosed in approved cabinets?

Is there sufficient access and working space around all electrical equipment?

Are all unused openings in breaker boxes appropriately plugged or covered?

Is the use of each circuit breaker properly labeled?

Do switches, receptacles, and junction boxes have tight-fitting covers or face plates?

Are employees forbidden from working within 10 feet of high-voltage (over 600 volts) lines?

Key rule:

- Division 2, Subdivision S, Electrical