# Works Permit

When to complete-

This form must be completed if the proposed work includes any of the following:

- Roof work or ceiling work

- Trenching or excavation work

- Crane operations

- Energy isolation (Gas, Water, Electricity)

Part A: Work Details

| Permit Requestor: |  |  |  |
| --- | --- | --- | --- |
| Requestor Phone No.: |  | Date of Assessment: | / / |
| Description of Work: |  |  |  |
| Equipment to be used: |  |  |  |

Part B: Examination

To be completed by an authorised person. An authorised person can be an AMC project manager or principal contractor, contractor’s supervisor or sub contractor (for construction works)

Roof work or ceiling work? Yes  Complete checklist below No  Go to next checklist

Any work that requires access to the roof or ceiling and which may place people at risk through collapse, falling or contact with existing services.

| Safety Requirements | Yes | N/A |
| --- | --- | --- |
| Personal Protective Equipment to be used |  |  |
| Adequate access and security for workers, equipment and materials |  |  |
| Safety harness or lifelines examined and secured to strong anchorage |  |  |
| Scaffolding or platforms about 4 metres have been erected and examined by a suitably qualified person |  |  |
| Area sufficient for personnel, equipment and materials load |  |  |
| Persons working or passing below are adequately protected |  |  |
| Warning signs and barriers erected at ground level |  |  |

# Works Permit

Trenching and excavation work?

Yes  Complete checklist below No  Go to next checklist

| Safety requirement | Yes | N/A |
| --- | --- | --- |
| Personal Protective Equipment to be used |  |  |
| If underground services are affected have specific instructions been issued |  |  |
| Soil erosion and sediment control measures have been identified for use |  |  |
| Are banks over 1.5 metres sloped sufficiently and adequately provide a safe means of egress |  |  |
| Excavations are barricaded and signed |  |  |
| Relevant certificates of competency for equipment operators have been sighted |  |  |

Crane operation?

Yes  Complete checklist below No  Go to next checklist

| Safety requirements | Yes | N/A |
| --- | --- | --- |
| Personal Protective Equipment to be used |  |  |
| Ground under crane is sufficient to support crane |  |  |
| All hoisting equipment inspected prior to use |  |  |
| Overhead lines within 4 metres de-energised |  |  |
| Barricades placed around crane cab swing area |  |  |
| Crane operator’s permit has been sighted and includes the name of the signal person (dogman) |  |  |
| Personnel have received appropriate training |  |  |
| Clearance under crane operation area. |  |  |

# Works Permit

Energy isolation? (Gas, Water and Electricity)

Yes  Complete checklist below No  Go to part C

| Safety requirements | Yes | N/A |
| --- | --- | --- |
| Personal Protective Equipment to be used |  |  |
| Lock out locks and tags installed to isolated valves or outlets |  |  |
| Fire protection equipment installed |  |  |
| If fire protection equipment or water is to be isolated, is a notice of impairment required |  |  |
| Area barricaded and signed |  |  |
| Working on live electrical installations (must be in accordance with State legislative requirements) |  |  |
| Ladders or scaffolds inspected and secure |  |  |
| Affected persons notified; that is, employees, customers or other contractors |  |  |

Part C: Authorisation

To be completed by an authorised person before work commences. The work as listed in this permit is authorised to proceed subject to all the necessary precautions as detailed in this permit being taken prior to work commencing and these procedures being maintained for the duration of the work

| This permit is valid from: |  | / / |  |  | To: | / / |
| --- | --- | --- | --- | --- | --- | --- |
| Name: |  |  | Signature: |  |  |  |
| Date: | / / |  |  | Time: |  |  |

Part D: Acceptance

To be completed by those performing the work

| I have read this permit and understand the nature of the work and safety precautions to be taken |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |

Works Permit

Part E: Completion

To be completed by those performing the work

| I certify that the job has been completed and made safe |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |
| Signature: |  | Date: | / / | Time: |  |

Part F: Close out

To be completed by the principal contractor

| Name: |  | Signature: |  |  |
| --- | --- | --- | --- | --- |
| Date: | / / |  | Time: |  |

Site Manager

Permit returned and work completed

| Name: |  | Signature: |  |  |
| --- | --- | --- | --- | --- |
| Date: | / / |  | Time: |  |

File completed form in the Contractors, Suppliers, Demonstrators and Visitors folder after the ‘ Work Permit’ tab. Retain this form on site for two years then archive for a further five years.