INSTRUCTIONS FOR HOT WORK

1.   Verify precautions listed at right (or do not proceed with the work).

2.   Complete page 1 and retain for job files.

Date: ___________________ Job No: _________________

Location/Building & Floor (Be Specific)

________________________________________________

Description of Work Being Performed

________________________________________________

Name of Person Doing Hot Work

________________________________________________

The above location has been examined, the precautions checked on the Hot Work Checklist have been taken to prevent fire, and permission is authorized for this work.

Signed: _________________________________________

(Permit Authorizing Individual)

Signed: _________________________________________

(Supervisor)

Signed: _________________________________________

(Person Doing Hot Work)

Work Start: Date: ________________ Time: ___________

Work Finish: Date: _______________ Time: ___________

Fire Watch Sign Off:

Work area and all adjacent areas to which sparks and heat spread were inspected during the fire watch period and 30 minutes after hot work and were found safe.

Signed: ________________________________

HOT WORK CHECKLIST		                        OK        N/A

1. Sprinklers & hose in service/operable

2. Hot work equipment in good working

Condition (Power source, welding leads, torches, etc).

3. Fire Extinguisher, Sand & Water Bucket.

REQUIREMENTS WITHIN 35 FEET OF HOT WORK

1. Dust, Debris, Flammable Liquids and

Oily Deposits removed; floors swept clean.

2. Explosive atmosphere in area eliminated.

3. Combustible floors wet down or covered

with fire blankets.

4. All wall and floor openings covered.

5. Walkways protected beneath hot work.

WORK ON WALLS OR CEILINGS

1. Combustibles moved away from other

Side of wall.

WORK IN CONFINED SPACES

1. Confined Space cleaned of all

Combustibles (eg: grease, oil, flammable vapors).

2. Containers purged of flammable liquids.

OTHER REQUIREMENTS

1. Flash Back Arrestors fitted to gas cylinders.

2. Pipelines or connections disconnected and

Locked.

3. All workers are having appropriate PPE.

People carrying out the hot work must be informed of (a) What to do if they discover a fire (b) How to raise the alarm (c) Evacuation Procedure and assembly point

WORK COMPLETION STATUS

Work Completed / Work Not Carried Out

Permit closed on: Date: _________ Time: _______

Signed: __________________________________

(Supervisor)