HOT WORK PERMIT

(Hot work would  mainly comprise - Welding, Gas-cutting, use of Open Flames or other sources of fire in  a fire-prone  place containing inflammable substances, explosives & / or other such highly combustible materials susceptible  to spontaneous ignition & / or explosion.)

- The person taking permit (permittee) to fill up:

- Exact location where hot work is being planned. _____________________

- Approximate duration of work. 	From 	: Date:___________	Time ______________

To 	: Date ___________	Time ______________

Points to be checked

| Sl. No | Details | Remarks Yes No Not Required |
| --- | --- | --- |
| 1. | Has the area immediately below the work spot, been cleared / removed of oil, grease & waste cotton etc.? |  |
| 2. | Has Gas concentration been tested in case there is gas valve/gas line nearby? |  |
| 3. | Have fire extinguishers been kept handy at site? |  |
| 4. | Has tin sheet/ wet gunny bag/ fire retardant cloth / sheet been placed to prevent sparks from causing fire? |  |
| 5. | Has water hose connection been made for continuous water spray? |  |
| 6. | Have all the drain inlets (if any) been closed? |  |
| 7. | Any other precautions taken (specify):_____________________ |  |

The above points have been complied with and conditions rendered safe / hazards innocuous to undertake the hot work.

Name of   ________________	Signature_______________  Designation________________

Permittee (Site engineer)

B)  The person giving permit (issuing authority) to fill up:

After checking all the above precautions the hot work can be carried out in the above area.

Name & Signature: of          _______________________                  	 _______________

issuing authority	               Section Incharge				HSEO

C)Time ____________             Date____________________ at which the permit closed & filed.

___________________________

Signature of HSEO