| HOT WORK PERMIT |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| VALID FROM ____________AM/PM____________DATE TO_____________AM/PM_________________________Report No.__________________ |  |  |  |  |  |  |  |
| PERMISSION IS GRANTED TO SECTION/CONTRACTOR________________________________________________________________________ |  |  |  |  |  |  |  |
| NATURE OF WORK_____________________________________________________________________________________________________ |  |  |  |  |  |  |  |
| LOCATION OF WORK__________________________________NEAREST FIRE ALARM NO.____________________________________________ |  |  |  |  |  |  |  |
| THE FOLLOWING ITEMS SHALL BE CHECKED BEFORE ISSUING THE PERMIT |  |  |  |  |  |  |  |
| (PLEASE MARK APPLICABLE BOXES) |  |  |  |  |  |  |  |
| ITEMS |  | DONE | NOT DONE | ITEMS |  | DONE | NOT DONE |
| 1 | Equipment/work area inspected. |  |  | 14 | Portable equipments/nozzles properly grounded |  |  |
| 2 | Surrounding area checked/cleaned up, oil/rags |  |  | 15 | Standby personnel provided from vessel entry |  |  |
| 3 | Considered hazard from other routine/non-routine operations and concerned person alerted |  |  | 16 | Standby personnel provided for fire watch from process/maint/Contractor /Fire Dept. |  |  |
| 4 | Equipment electrically isolated and tagged (vide Permit no._____________________) |  |  | 17 | Iron sulphide removed/kept wet |  |  |
| 5 | Fire water hose /portable fire extinguisher provided |  |  | 18 | Area cordoned off |  |  |
| 6 | Fire water system checked for readiness Equipment blinded/disconnected/closed /isolated/wedged open |  |  | 19 | Clearance obtained from technical/concerned Dept. |  |  |
| 7 | Equipment properly drained/depressurised |  |  | 20 | Checked spark arrester on mobile equipments |  |  |
| 8 | Equipment properly steamed/purged |  |  | 21 | Checked for oil/gas trapped behind lining in equipments |  |  |
| 9 | Equipment water dashed |  |  | 22 | Precautions against public traffic taken |  |  |
| 10 | Shield against spark provided |  |  | 23 | Precautions taken for working at height |  |  |
| 11 | Proper ventilation and lighting provided |  |  | 24 | Welding machine checked for safe locations |  |  |
| 12 | Proper means of exit provided |  |  | 25 | Checking for earthing/return connection to the equipment being welded |  |  |
| 13 | Precautionary tags/boards provided |  |  | 26 | Oxygen and Acetylene (D.A.)cylinders kept outside the vessel/tank |  |  |
| SPECIAL INSTRUCTION |  |  |  |  |  |  |  |
| Following personal protective equipment are required(check all items required): |  |  |  |  |  |  |  |
| 1 | Safety helmet/Gloves/Goggles/Safety shoes/Boiler suit/welding suit/Dust Respirator/Face shield/Fresh air Mask/Apron/life line/ safety harness |  |  |  |  |  |  |
| 2 | In case of fire siren all work must be stopped. All personnel must leave work site and proceed to designated areas. In case of disaster siren assemble at nearby Assembly point. |  |  |  |  |  |  |
| 3 | In case of liquid/gas release stop work and immediately advise concerned Supervisor/Engineer/Site In-charge |  |  |  |  |  |  |
| 4 | Only certified vehicle/engines and permitted type of electrical equipment and tools are allowed in operating area. |  |  |  |  |  |  |
| 5 | Insure proper grounding/earthing/installation of cables. |  |  |  |  |  |  |
| 6 | For hot tapping ensure continuous /sufficient flow in the line . |  |  |  |  |  |  |
| 7 | This permit is must be available at work site at all times. |  |  |  |  |  |  |
| 8 | No hot work shall be permitted unless the Explosimeter reading is zero. |  |  |  |  |  |  |
| 9 | Vessel entry, where no hot work is to be carried out .may be permitted if combustible gases are up-to 5% of lower explosive limit (LEL).Entry with an air supplied mask may be permitted with LEL of up to 20% The oxygen level should be at least 19.5% vol. and the concentration of toxic gases below the threshold limits. |  |  |  |  |  |  |
| 10 | Additional remarks if any:______________________________________________________________________________________________ |  |  |  |  |  |  |
| Contractor |  |  |  |  |  |  |  |
| Signature |  | Signature |  |  | Signature |  |  |
| Name |  | Name |  |  | Name |  |  |
| Mechanical Incharge |  | Safety Officer |  |  | Site In-charge/RCM |  |  |
| ON HEARING FIRE SIREN STOP THE HOT JOB |  |  |  |  |  |  |  |