| This permit can be obtained from Safety Unit under Faculty of Engineering, |  |  |  |  |  |  |  | Permit no.: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This permit must be displayed prominently at the area where the scaffolding work is to be carried out and protected from being damaged. Damaged permit shall be considered as invalid. Permit has to be applied for any scaffold exceeding 2 meters. |  |  |  |  |  |  |  |  |  |  |  |  |
| Part 1: To be completed by Applicant |  |  |  |  |  |  |  |  |  |  |  |  |
| Applicant’s *Company / Department |  |  |  |  |  |  |  |  |  |  |  |  |
| Requested by (Name, designation & Signature) |  |  |  |  |  |  |  |  |  |  |  |  |
| Purpose of application |  | Scaffold erection / Scaffold modification / Dismantling of Scaffold (*) |  |  |  |  |  |  |  |  |  |  |
| Location of scaffold |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of scaffold |  | Fixed tower / Mobile tower on castor wheel/ Cantilever / Suspended / Hanging (*) |  |  |  |  |  |  |  |  |  |  |
| Height of scaffold (up to working platform) |  |  |  |  | Scaffold Material |  |  |  |  |  |  |  |
| Duration of work (date) |  | From: |  |  |  |  |  |  | To: |  |  |  |
| Applicant shall be responsible and ensure that precautions and instructions indicated in the permit are taken against all hazards in connection with working at height if the permit approved. |  |  |  |  |  |  |  |  |  |  |  |  |
| ### Applicant to comply with the following conditions: (Yes/No/NA) |  |  |  |  |  |  |  |  |  |  |  |  |
| Scaffold materials are in good condition & without defects |  |  |  |  |  | Scaffold must not be overloaded |  |  |  |  |  |  |
| Engaged only Approved MoM Scaffold Contractor (except tower scaffold or scaffold <4m) |  |  |  |  |  | Castor wheel used must be with locking mechanism |  |  |  |  |  |  |
| Engaged on competent Scaffold supervisor and erectors (submit certificates) |  |  |  |  |  | Provide rotating light for any scaffold works along the road (for night work only) |  |  |  |  |  |  |
| Area must be barricaded and warning signs displayed |  |  |  |  |  | Tower scaffold, height erected less than 8x the lesser base |  |  |  |  |  |  |
| Provide lifeline if not possible to anchor safety harness to any rigid structures |  |  |  |  |  | Tower scaffold, tie back or outrigger in place for height erected more than 3x the lesser base |  |  |  |  |  |  |
| Scaffold Supervisor and erectors must wear personal protective equipment |  |  |  |  |  | Clear work area after erection / modification / dismantling of scaffold |  |  |  |  |  |  |
| Ensure that ground is stable and safe for scaffold erection |  |  |  |  |  | Scaffold erected away from excavated area |  |  |  |  |  |  |
| Stabilise soft and uneven ground with hardcore / steel-plate / sole plate / timber |  |  |  |  |  | Scaffold must not be tie-in to any building structures w/o Facilities Manager approval |  |  |  |  |  |  |
| Scaffold Supervisor must supervise the erection / modification / dismantling of scaffold |  |  |  |  |  | Scaffold must not be erected near power lines w/o Facilities Manager approval |  |  |  |  |  |  |
| Erect safety net / fan of boards over area which is near to public access |  |  |  |  |  | Provide adequate lighting for erection / modification / dismantling of scaffold at night |  |  |  |  |  |  |
| Scaffolding works must STOP during adverse weather / absence of Scaffold Supervisor |  |  |  |  |  | Ensure full compliance with Professional Engineer design and drawing |  |  |  |  |  |  |
| Scaffold Supervisor and erectors must use safety harness and anchor them |  |  |  |  |  |  |  |  |  |  |  |  |
| - Remarks: |  |  |  |  |  |  |  |  |  |  |  |  |
| - Part 2: Clearance by Faculty Safety Unit - I acknowledge the intended work area where the scaffolding work will be carried out and above information filled by applicant. Permit is hereby granted subject to the above conditions. |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  | Date/Time: |  |  |  |  |  |
| Part 3: *Clearance by Office of Infrastructure (AA work or Work in Public Area) |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  | Date/Time: |  |  |  |  |  |
| - Part 4: Approval By Authorised Manager – Owner Designate |  |  |  |  |  |  |  |  |  |  |  |  |
| - I hereby *approved / disapproved the *erection / modification / dismantling of scaffold |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  | Date/Time: |  |  |  |  |  |
| Part 5: Notification of Completion of Work by Applicant |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  | Date/Time: |  |  |  |  |  |
| Note: - Original – to be displayed at prominent area of Scaffolding Work and return to owner’s department office after completion of work - Copy – FoE, Safety Unit - *Delete where applicable. - Any evacuation will deem this permit void, permit has to be re-applied - All the appropriate signatures must be obtained before work starts and proper signage to be posted as per requirement |  |  |  |  |  |  |  |  |  |  |  |  |