## Scaffold staging tower conr pum
Risk Assessment/Management Form
Ref:
Section / Dept: / civil Contarctor :- |  |  |  | Activity: Risk Assessment-Scaffolding CONCRETE PUMP TOWER work | Location/Area:-
Sl N. | Basic Job Steps | Potential Hazard | Consequence | Current control measure | Risk rating |  |  |  | Probability | Initial Risk | Additional control measure | Risk rating |  |  |  | Probability | Residual risk
[5 empty] | P | E | A | R |  |  |  | P | E | A | R
1 | Erection of concrete pump tower | Failure of scaffolding/concrete pipe | Injury/Fatality | All the scafold should be checked before installation | 2 | 0 | 1 | 0 | 2 | 4
At the time of erecting and removal of scaffolding,the area muat be barricaded and restricted for any other operation
All the scaffolds vertical should be installed on a firm base
Scaffolds suitably braced diagonal(Ledger) bracing on alternate parts
|  | Failure of coupler | Get Injury/Fatality | All the coupler must be 'OK' in condition | 3 | 0 | 1 | 3 | 2 | 6 | Deployment only skill workmen | 2 | 0 | 0 | 0 | 2 | 4
Proper inspection should be required by site engineer on daily basis and record should be kept in file
|  | Slip of tools | Get Injury |  | 1 | 0 | 0 | 0 | 2 | 2
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
Using hammer to loosen or tighten nuts are to be required in OK' condition and all the work should be done with utmost care
|  | Working at height | Get Injury/Fatality | Only authorised persons are allowed for working at height | 2 | 0 | 0 | 2 | 2 | 4
Use full body harness with double lanyard and anchord it above the head height
Deploy only skill workmen
Take' WAH'permit before starting the working at height activity
Enlist the name of work men at daily attachment sheet befor starting the activity
Proper inspection should be required by site engineer on daily basis
| Natural Calamity | High wind velocity | Injury/Fatality |  | 0 | 0 | 0 | 0 | 5 | 0
2 | Natural Calamity | High wind velocity | Injury/Fatality | To stop the work and reassess the condition | 0 | 0 | 0 | 0 | 5 | 0
Avoiding high tonnage erection(>5T) during night hours
Any work stopped due any reason in the late night more than 1/2 hr.idle people should not rest in the work area.They should come back to site office to relax.
Prepared by |  |  |  | Approved by | [7 empty] | Reviewed by
Contractor |  |  |  | Contractor
Date |  |  |  | Date | [7 empty] | Date