Fire Safety

Even in a facility where the basics of fire prevention are understood and followed, an unexpected fire may nevertheless occur.  When that happens, people may panic because they don’t know the proper firefighting procedures and equipment.

Your first response, of course, must be to set off the alarm.  The second is to leave the area if the fire is too big to handle.  To deal with a small fire, you must know what class it belongs to, based on the kind of material that is burning.  Using the wrong type of extinguisher, or using one improperly, could result in additional property damage and injury.  We have already taken the first step toward avoiding such mistakes by placing the proper types of extinguisher in each area of the office according to the materials used or stored there.

Class A Fires

Fires of this type consist of ordinary combustibles, such as wood, paper, or cloth—and can be put out with water.  Get as close to the fire as possible without endangering yourself, and aim the nozzle toward the base of the flames.  Continue spraying until all smoldering material is wetted down.  Deep-seated fires, such as in baled materials, must be thoroughly soaked and may have to be pulled apart to reach smoldering matter inside.

A multipurpose dry-chemical extinguisher can also be used on class A fires.  Attack at the edge of the fire, directing the nozzle in a sweeping motion.  The powdered chemical becomes sticky when heated, allowing it to form a film that clings to the heated material and smothers the fire.

Class B Fires

Fires that burn flammable liquids, such as oil, gasoline, solvents, and paints as their primary fuel are Class B.  Dry-chemical extinguishers are the type usually used—starting about 10 feet away from the fire and slowly moving closer, applying the substance from side to side near the fire’s base.  Carbon dioxide extinguishers are also effective on flammable-liquid fires.  You must use this type near the edge of the fire at close range in an enclosed area where no wind or draft exists. Fires can spread with the presence of oxygen, but carbon dioxide decreases the amount of oxygen surrounding the fire until the air can no longer support the combustion.

Class C Fires

These are fires in energized electrical equipment.  Water can’t be used, because it conducts electricity and can deliver a shock to the firefighter.  If the equipment can be de-energized, extinguishers for Class A or B fires may be safely used.  Otherwise, carbon dioxide and dry-chemical extinguishers are best.  Carbon dioxide is non-conductive and non-corrosive and leaves no sticky film, making cleanup easy.

Class D Fires

Class D fires involve combustible metals, such as magnesium, titanium, zirconium, sodium, lithium, and potassium.  Special dry-compound powders, such as powdered graphite and sodium chloride, powdered talc, soda ash, and limestone, are made to extinguish these fires.  In case of emergency, dry sand can be used.

Extinguisher Types and Labels

Different types of extinguishers are labeled according to the class of fire they are to be used on: type A on Class A fires, and so on.  Some type A and B extinguishers add a number to indicate the size of fire they can handle, with "1" representing the smallest.  Types C and D do not have numbers.  Some "Combination Class" extinguishers (ABC, BC) can be used on more than one class of fire as indicated on the label.