Hot Work Permit

Stop!

Before starting hot work, review all safety precautions.

Can this work be avoided or is there a safer way, if so, do not authorize work!

This hot work permit is required for any temporary operation involving open flames or producing heat and/or sparks such as welding, cutting, brazing, grinding, soldering, or torch-applied activities.

| #### Rev. 0 – 09/07 |  | #### Part 1 |  |  | #### Permit Number |
| --- | --- | --- | --- | --- | --- |
| # Instructions |  |  |  | # Required Precautions Checklist |  |
| Supervisor: 1. Complete precaution checklist at right 2. Complete this form and retain Part 1 3. Issue Part 2 to competent person performing hot work |  |  |  | - Sprinkler protection in service (if present) and hose and extinguishers available - Hot work equipment is in good working order # Requirements within 35 ft. of hot work - Flammable liquid, dust, lint and oily deposits removed and floor swept clean - Explosive atmosphere in area eliminated (hot work is not to be conducted in a classified area unless made safe) - Nearby activities evaluated for conditions that could be effected by hot work - Path of likely sparks evaluated - Combustible floors wet down, covered with damp sand or fire-resistive sheets - Remove other combustible material where possible. Otherwise, protect with approved welding pads, blankets and curtains or metal shields - All wall and floor openings covered - Fire resistive covers and metal shields provided as needed - Protect or shut down ducts and conveyors that might carry sparks to distant combustible material - An appropriate fire extinguisher is located in the hot work area # Hot work on walls, ceilings or roofs - Construction is noncombustible and without combustible covering or insulation - Combustible material on other side of walls, ceilings or roofs is moved away # Hot work on enclosed equipment (i.e., welding on the outside of tanks) - Enclosed equipment cleaned of all combustible material - Containers purged of flammable liquid/vapor - Pressurized vessels, piping and equipment removed from service, isolated and vented # Hot work inside of enclosed spaces (i.e., inside of tanks) - Adequate ventilation provided - Atmosphere checked with gas detector per confined space permit - Area purged of any flammable or toxic vapors - Other permits completed as required: Lock-out/tag-out, working at heights, live electrical work # Hot work/Fire Safety Notifications - Location of nearest fire alarm known - If no alarm present, what method will be used to raise the alarm? (List in other precautions area below) - Escape routes maintained and known by personnel ## Fire Watch/Hot work area monitoring - Fire watch will be provided for a minimum of 60 minutes after work has ceased. - Fire watch is provided with suitable extinguishers - Fire watch trained in use of equipment and in sounding alarm Other Precautions/Special Instructions: |  |
| # Permit Information |  |  |  |  |  |
| Hot work done by: - Employee - Contractor |  |  |  |  |  |
| Location/ building and floor: |  |  |  |  |  |
| Reason for job: |  |  |  |  |  |
| ### PPE Required: - Welder’s hood with appropriate lenses - Welder’s gloves - Leather jacket/clothing - Head Protection - Hearing Protection - Respirator Type/cartridge: - Other: |  |  |  |  |  |
| ### Hot Work Performer |  |  |  |  |  |
| Name: |  |  |  |  |  |
| Signature: |  |  |  |  |  |
| I verify the above information has been examined, the precautions checked on the Required Precautions Checklist have been taken to prevent fire, and permission is authorized for this work. |  |  |  |  |  |
| ### Hot Work Supervisor Approval |  |  |  |  |  |
| ### Name: |  |  |  |  |  |
| Signature: |  |  |  |  |  |
| Date: |  |  |  |  |  |
| ## Permit Dates |  |  |  |  |  |
| Permit Activated | Date: |  | Time: |  |  |
| Permit Expires | Date: |  | Time: |  |  |
| Date and time work completed | Date: |  | Time: |  |  |
| ## Final Fire Watch Check-up | Date: |  | Time: |  |  |
| Fire Watch Inspector Signature (below) |  |  |  |  |  |
| Signature: |  |  |  |  |  |

Warning!

###### Hot Work in Progress

Watch for Fire!

| #### Rev. 0 – 09/07 |  | #### Part 2 |  |  | #### Permit Number |
| --- | --- | --- | --- | --- | --- |
| # Instructions |  |  |  | # Required Precautions Checklist |  |
| Supervisor: 1. Complete precaution checklist at right 2. Complete this form and retain Part 1 3. Issue Part 2 to competent person performing hot work |  |  |  | - Sprinkler protection in service (if present) and hose and extinguishers available - Hot work equipment is in good working order # Requirements within 35 ft. of hot work - Flammable liquid, dust, lint and oily deposits removed and floor swept clean - Explosive atmosphere in area eliminated (hot work is not to be conducted in a classified area unless made safe) - Nearby activities evaluated for conditions that could be effected by hot work - Path of likely sparks evaluated - Combustible floors wet down, covered with damp sand or fire-resistive sheets - Remove other combustible material where possible. Otherwise, protect with approved welding pads, blankets and curtains or metal shields - All wall and floor openings covered - Fire resistive covers and metal shields provided as needed - Protect or shut down ducts and conveyors that might carry sparks to distant combustible material - An appropriate fire extinguisher is located in the hot work area # Hot work on walls, ceilings or roofs - Construction is noncombustible and without combustible covering or insulation - Combustible material on other side of walls, ceilings or roofs is moved away # Hot work on enclosed equipment (i.e., welding on the outside of tanks) - Enclosed equipment cleaned of all combustible material - Containers purged of flammable liquid/vapor - Pressurized vessels, piping and equipment removed from service, isolated and vented # Hot work inside of enclosed spaces (i.e., inside of tanks) - Adequate ventilation provided - Atmosphere checked with gas detector per confined space permit - Area purged of any flammable or toxic vapors - Other permits completed as required: Lock-out/tag-out, working at heights, live electrical work # Hot work/Fire Safety Notifications - Location of nearest fire alarm known - If no alarm present, what method will be used to raise the alarm? (List in other precautions area below) - Escape routes maintained and known by personnel ## Fire Watch/Hot work area monitoring - Fire watch will be provided for a minimum of 60 minutes after work has ceased. - Fire watch is provided with suitable extinguishers - Fire watch trained in use of equipment and in sounding alarm Other Precautions/Special Instructions: |  |
| # Permit Information |  |  |  |  |  |
| Hot work done by: - Employee - Contractor |  |  |  |  |  |
| Location/ building and floor: |  |  |  |  |  |
| Reason for job: |  |  |  |  |  |
| ### PPE Required: - Welder’s hood with appropriate lenses - Welder’s gloves - Leather jacket/clothing - Head Protection - Hearing Protection - Respirator Type/cartridge: - Other: |  |  |  |  |  |
| ### Hot Work Performer |  |  |  |  |  |
| Name: |  |  |  |  |  |
| Signature: |  |  |  |  |  |
| I verify the above information has been examined, the precautions checked on the Required Precautions Checklist have been taken to prevent fire, and permission is authorized for this work. |  |  |  |  |  |
| ### Hot Work Supervisor Approval |  |  |  |  |  |
| ### Name: |  |  |  |  |  |
| Signature: |  |  |  |  |  |
| Date: |  |  |  |  |  |
| ## Permit Dates |  |  |  |  |  |
| Permit Activated | Date: |  | Time: |  |  |
| Permit Expires | Date: |  | Time: |  |  |
| Date and time work completed | Date: |  | Time: |  |  |
| ## Final Fire Watch Check-up | Date: |  | Time: |  |  |
| Fire Watch Inspector Signature (below) |  |  |  |  |  |
| Signature: |  |  |  |  |  |

Warning!

Hot Work In Progress

Watch for fire!

In case of emergency:

Call:

At:

##### Fire Watch

Maintain fire watch throughout work.  Watch must be maintained uninterrupted throughout lunch, breaks and ensuing shifts.  Complete inspection of work area and adjacent areas must be conducted every 30 minutes for between 1 and 4 hours after work is complete.  The plant manager or supervisor will determine the appropriate length of time a fire watch is to be maintained depending on the type of hot work conducted and the fire potential.

Return this hot work tag to the hot work supervisor upon completion of fire watch.