| Site Location: |  | Date: |  |
| --- | --- | --- | --- |
| Work Description: |  | Contractor: |  |

This checklist must be completed before the execution of hot work in a potentially flammable atmosphere.

Definition:   Hot work is any work involving arcing/sparking devices, the introduction of a combustion engine, or any other work where flame is used or sparks are produced in a work environment.  Hot work also involves electrical work as defined by the Canadian Electrical Code.

Any of the above work performed in an environment where a flammable atmosphere may be present, or likely to be present, is considered to be a critical procedure and this checklist must be completed.

| No | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Has gas-testing equipment been properly calibrated and has daily pre-use testing been performed as specified by the manufacturer. |  |  |  |
| 2 | Has gas testing been performed in the work area no longer than 2 hours before the work commences? Record results on Daily Safe Work Permit |  |  |  |
| 3 | Have all sources of explosive vapours been checked? E.g. flanges, sewers, valves, casing vents |  |  |  |
| 4 | Has gas-testing frequency been determined? E.g. Interval testing or continuous testing. Record on Daily Safe Work Permit. |  |  |  |
| 5 | Is equipment properly isolated? Has equipment been properly locked out / tagged out and isolated? |  |  |  |
| 6 | Is this a confined space entry? If so, Complete confined space checklist been completed? |   |   |  |
| 7 | Have fire extinguishers been properly placed in the work area? |  |  |  |
| 8 | Has an individual been assigned as fire watch for the duration of the hot work? |  |  |  |
| 9 | Has the work area been reviewed to determine the location of the nearest telephone, fire alarm emergency communication, and first aid equipment? |  |  |  |
| 10 | Are welding machines properly grounded? |  |  |  |

Completed by: _________________________ Position: _____________________ Date: _________

Site Supervisor: ________________________ Date: __________