# HOUSEKEEPING

Housekeeping affects accident prevention, morale and the effective use of space, time, material and effort.  It reflects the efficiency of work being done.  In fact, steps to achieve and maintain good housekeeping often improve production.

Proper housekeeping in office locations, on construction sites, and fixed work facilities is essential to prevent fires as well as injuries resulting from slips, trips and falls.

What is Housekeeping?

Housekeeping, therefore, is a safe and orderly condition of neatness, movement, and efficient arrangement of materials.

Order

The most overlooked part of housekeeping is ORDER.  Order is maintained not achieved.  Order must be obtained throughout the day.  If you wait until the end of the day and then place everything in order, what good did it do you during the day?  Disorder wastes time, energy and materials.

## Rules of Thumb

- As you make a mess, clean it up

- If you take it out, put it back

- If you open it, close it

- If you move it, return it to its proper place

- If you break it report it

- If you spill it, wipe it up

- If your work area becomes disorganized, organize it

Housekeeping Checklist

It is every staff member’s responsibility to be on the lookout for possible hazards.  The following list is not all-inclusive, however if you spot one of the conditions listed—or any other possible hazardous situation—correct it if you can and report it to your supervisor immediately.

- Slippery floors and walkways

- Tripping hazards, such as hose links, piping, etc.

- Poorly lighted stairs

- Loose handrails or guard rails

- Dangerously piled supplies or equipment

- Electrical equipment left operating

- Open doors on electrical panels

- Blocked aisles

- Blocked fire extinguishers, hose sprinkler heads

- Blocked fire doors

- Evidence of any equipment running hot or overheating

- Evidence of smoking in non-smoking areas

- Roof leaks

- Directional or warning signs not in place

- Safety devices not operating properly