|  | #### Job Safety Analysis |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | ASUC Auxiliary - Building operations |  |  |  |  |
|  | ## Using Ladders |  |  |  |  |
|  | Task | Hazards |  | Controls |  |
|  | - Setting up ladder. Different types of ladders require different means of securing their placement. | Injuries to self and others from losing control of ladder. |  | Ladder must be secured prior to use. |  |
|  |  | Potential electrocution. |  | Metal ladders are not used near electrical lines. LockOut/TagOut procedures must be used if any electrical or mechanical equipment is being serviced, such as changing of ballasts (this may include changing a light bulb). See EH&S Fact Sheet “Lockout/Tagout: Procedures for Controlling Hazardous Energies.” |  |
|  | 2. Climbing ladder. | Falling. |  | Maintain three points of contact while on the ladder. Do not climb higher than the ladder is rated for. Ladders are used for access. When working while in one place on the ladder, some form of fall protection must be provided. |  |
|  | 3. Removing ladder. | Injuries to self and others from losing control of ladder. |  |  |  |
|  | Required Training: Use of ladders Use of a fall protection harness (if necessary) Lockout/Tagout (if necessary) | Required Personal Protective Equipment (PPE): ### Fall protection harness assembly (if necessary) |  |  |  |
| Other Information: |  |  |  |  |  |
| Contributors: |  |  |  |  |  |
| Created: | April 2005 |  |  |  |  |
| JSA Library Number: |  |  |  |  |  |